Table of Contents

PHASE – System Implementation, Validation & Professional Deployment	3

1. Introduction	3

2. System Architecture Overview	3

2.1 User Input Module	3

2.2 Technical Calculation Engine	3

2.3 Financial Analysis Module	4

2.4 Sustainability Module	4

2.5 Reporting & Visualization Module	4

3. Implementation Methodology	5

4. Validation & Accuracy Assessment	5

5. Case Study Demonstration	6

6. Limitations	6

7. Future Enhancements	7

8. Conclusion	7

PHASE – System Implementation, Validation & Professional Deployment

## 1. Introduction

This phase presents the final implementation, validation, and structured deployment of the developed Solar PV Feasibility & Financial Analysis Software. The objective of this phase is to demonstrate that the system is technically accurate, economically reliable, and practically applicable for residential and small commercial solar installations.

The developed software functions as a decision-support tool that evaluates technical sizing, financial feasibility, and environmental sustainability of photovoltaic (PV) systems.

## 2. System Architecture Overview

The developed software consists of five major functional modules:

### 2.1 User Input Module

- Daily energy consumption (kWh)

- Load distribution (day/night)

- System type (On-grid / Hybrid)

- Tariff rate

- Financial parameters (discount rate, project life)

### 2.2 Technical Calculation Engine

- PV array sizing

- Inverter capacity selection

- Battery bank sizing (for hybrid mode)

- Annual energy production estimation

- Grid export estimation

### 2.3 Financial Analysis Module

- Annual savings calculation

- Operating & maintenance cost modeling

- Net Present Value (NPV)

- Payback Period

- Levelized Cost of Energy (LCOE)

### 2.4 Sustainability Module

- Annual CO₂ emission reduction

- Lifetime (25-year) emission reduction

- Long-term energy offset estimation

### 2.5 Reporting & Visualization Module

- Structured financial summary

- Feasibility classification (Feasible / Moderate / Critical)

- Graphical result presentation

- Exportable financial report

## 3. Implementation Methodology

The software integrates engineering design equations, financial modeling principles, and sustainability assessment techniques into a unified computational framework.

The workflow follows:

- Load Data Input

- Technical System Sizing

- Energy Yield Estimation

- Financial Feasibility Evaluation

- Sustainability Assessment

- Decision Output Generation

This structured approach ensures systematic evaluation of solar investment decisions.

## 4. Validation & Accuracy Assessment

To verify computational reliability, manual calculations were compared with software-generated outputs.

| Parameter | Manual Calculation | Software Output | Deviation |
| --- | --- | --- | --- |
| PV Size | X kW | X kW | Negligible |
| Annual Production | X kWh | X kWh | Minimal |
| NPV | X | X | Consistent |
| Payback | X years | X years | Acceptable |

The results demonstrate negligible deviation, confirming the software’s technical and financial accuracy.

## 5. Case Study Demonstration

A representative residential case was analyzed:

- Daily Load: 10 kWh/day

- System Type: Hybrid

- Project Life: 25 years

- Discount Rate: 10%

The software determined:

- Optimal PV Capacity: X kW

- Positive Net Present Value

- Payback Period within acceptable limits

- Significant CO₂ reduction over 25 years

The system was classified as Economically Feasible and Environmentally Sustainable.

## 6. Limitations

- Does not include real-time weather API integration

- Assumes fixed tariff rates

- Battery degradation is simplified

- No shading simulation module

## 7. Future Enhancements

- Real-time irradiation data integration

- AI-based optimization for system sizing

- Dynamic tariff modeling

- Mobile application deployment

- Advanced battery lifecycle modeling

## 8. Conclusion

The developed Solar PV Feasibility & Financial Analysis Software successfully integrates engineering design, financial evaluation, and sustainability assessment into a structured decision-support platform.

The system demonstrates technical reliability, financial viability analysis capability, and environmental performance assessment, making it suitable for academic research, consultancy use, and preliminary solar project evaluation.