## Sheet1
Month |  | Units | Current Solar Panel Cost | Items Required | Cost Required (Rs.) | List Down Milestones |  | Cost Required (Rs.)
August |  | 57 | Daily Units Consumed = 3.019 kWh/day | Cost Per kW (PAKISTAN) | 175000 | Solar Panel (1.3208) kW |  | 231142.1875
September |  | 64 |  | On-Grid String Inverter | 140000
October |  | 62 | Solar Panel Cost = Daily Energy (kW) * Cost/kW | Structure | 60000 | Inverter (On-Grid) |  | 140000
November |  | 44 |  | Mounting Structure
December |  | 43 | 231142.1875 | DC & AC Wiring |  | Structure & Wiring |  | 60000
January |  | 68 |  | DC Isolator
February |  | 133 |  | AC Breaker |  | Installation Labor |  | 40000
March |  | 51 |  | Earthing & SPD
April |  | 89 |  | Installation & labor | 40000 | Net Metering (On-Grid) |  | 65000
May |  | 133 |  | Installation
June |  | 180 |  | Testing |  | Total Solar System Installed Cost |  | 536142.1875
July |  | 163 |  | Commissioning
|  |  |  | Net metering cost (On-Grid only) | 65000
| WAPDA | Units Used
| Total Units / Year | 1087 |  | Application
| Average Units / Month | 90.5833 |  | Bi-directional meter
| Daily Units Consume (kWh) | 3.0194 |  | Documentation
| Solar Energy Production | Value |  | Given Data | Value | Calculate Payback Period |  | Calculate ROI
[6 empty] | * If Energy Produced by Solar is sufficient | Value | ROI = (1 / Payback Period) * 100% | Value
| System Size = Daily Units Consume / (Sun Hours * Efficiency) | 3.019 / (5 * 0.80) |  | Country | PAKISTAN | Payback Period = Total System Installed Cost / Annual Savings
|  |  |  | City | Gujranwala | Annual Savings. = Annual Units Consumed * Tariff | 43480
| System Size (kW) | 0.75475 |  | Sun Rise Hours (hr.) | 5 | Total System Installed Cost | 536142.1875
|  |  |  | Factor Of Safety (F.O.S) | 1.75
| Expanded System Size (kW) = System Size * Safety Factor | 1.3208 |  | 1kW (Energy) Generates = ? (kWh) / day | 5 | Payback Period (Years) | 12.3308 | ROI / year | 8.1098
|  |  |  | Tariff per unit (Pakistan) / kWh | 40
| How much this system generates energy to cover load (kWh) / day? | 6.6041 |  | Net Metering Cost @ NEPRA / kWh | 20 | * If Energy Produced by Solar is Excess
|  |  |  | Annual Units Consumed (kWh) / Year | 1087 | Payback Period = (Total System Installed Cost) / (Annual Savings + Net Metering)
| Energy Generates (kWh) / Month | 198.1219 |  | Annual Units Generates by Solar (kWh) / Year | 2377.4625 | Net-Metering = (Annual Unused Units * NEPRA Unit Cost) | 25809.25
[6 empty] | Annual Savings. | 43480
| Energy Generates (kWh) / Year | 2377.4625 |  | Annual Unused Units (kWh) / Year | 1290.4625
[6 empty] | Payback Period (Years) | 7.7377 | ROI / Year | 12.9237