MASTER PROJECT DOCUMENT

Solar PV Feasibility & Financial Analysis Decision Support System

1. Executive Summary

This project presents the development of a structured Solar PV Feasibility & Financial Analysis Decision Support System designed to evaluate the technical, economic, and environmental viability of solar installations.

The system integrates photovoltaic system sizing, financial modeling (NPV, Payback Period, LCOE), and long-term sustainability analysis into a unified computational platform.

Unlike conventional solar calculators, this tool functions as a decision-support system, assisting users, consultants, and renewable energy planners in determining whether a proposed solar installation is technically optimized, financially feasible, and environmentally sustainable before implementation.

2. Problem Statement

Solar adoption decisions often suffer from:

- Fragmented technical calculations

- Lack of financial feasibility analysis

- Poor sustainability evaluation

- Disconnection between engineering design and investment decisions

Most available tools focus only on system sizing without considering:

- Discounted cash flow modeling

- Long-term economic return

- Carbon emission reduction impact

- Feasibility classification

There was a need for an integrated system that combines:

Technical Design + Financial Evaluation + Sustainability Assessment
into one structured framework.

3. Solution Overview

The developed software provides:

- Load-based PV system sizing

- Inverter capacity determination

- Battery bank calculation (Hybrid systems)

- Annual energy yield estimation

- Financial feasibility analysis

- Carbon emission reduction assessment

- Feasibility classification output

The system transforms raw energy data into structured investment decisions.

4. System Architecture

The system consists of five major modules:

4.1 User Input Module

- Daily energy consumption (kWh)

- Load distribution (day/night)

- System type (On-grid / Hybrid)

- Electricity tariff

- Discount rate

- Project life (25 years)

4.2 Technical Calculation Engine

- PV array sizing

- Inverter selection logic

- Battery bank sizing (for hybrid mode)

- Annual energy production estimation

- Grid export calculation

4.3 Financial Analysis Module

- Annual savings estimation

- Operation & Maintenance cost modeling

- Net Present Value (NPV)

- Payback Period

- Levelized Cost of Energy (LCOE)

4.4 Sustainability Module

- Annual CO₂ reduction

- 25-year CO₂ reduction

- Lifetime energy offset estimation

4.5 Reporting & Decision Module

- Technical summary

- Financial summary

- Sustainability summary

- Feasibility classification (Feasible / Moderate / Critical)

5. Technical Methodology

The system follows a structured engineering workflow:

- Determine daily load requirement

- Calculating required PV capacity

- Estimate annual energy production

- Size inverter capacity

- Calculate battery storage (for hybrid mode)

- Estimate system losses

- Determine grid interaction

Engineering formulas are embedded into the calculation engine to ensure consistency and accuracy.

6. Financial Modeling Approach

The financial module uses discounted cash flow principles.

6.1 Annual Cash Flow

Annual Savings – O&M Cost = Net Annual Cash Flow

6.2 Net Present Value (NPV)

NPV is calculated using:

- Discount rate

- Project life (25 years)

- Initial investment

- Annual net savings

Positive NPV → Financially viable
Negative NPV → Financially weak

6.3 Payback Period

Determines the time required to recover initial investment.

6.4 Levelized Cost of Energy (LCOE)

Represents the cost per unit of electricity generated over system lifetime.

This ensures long-term economic evaluation, not just short-term savings.

7. Sustainability Modeling

Environmental performance is evaluated using:

- Emission factor per kWh

- Annual energy production

Annual CO₂ reduction is calculated and extended over 25 years to show long-term environmental impact.

This integrates climate-conscious decision making into solar investment evaluation.

8. Case Study Demonstration

A representative residential case was analyzed:

- Daily Load: 10 kWh/day

- System Type: Hybrid

- Project Life: 25 years

- Discount Rate: 10%

Results indicated:

- Optimized PV capacity

- Positive NPV

- Acceptable payback period

- Significant 25-year CO₂ reduction

The system was classified as:

Economically Feasible and Environmentally Sustainable

9. Validation & Testing

Manual engineering and financial calculations were compared against system outputs.

Results showed negligible deviation between manual and automated outputs, confirming computational accuracy and reliability.

Testing included:

- Different load scenarios

- Grid-only systems

- Hybrid systems

- Various tariff inputs

- Sensitivity to discount rate changes

The system demonstrated consistent and stable performance.

10. Industry Application & Professional Value

This system can assist:

- Solar EPC companies

- Renewable energy consultants

- Feasibility analysts

- Project investors

- Energy planners

It provides structured pre-installation evaluation and investment risk assessment.

The tool bridges the gap between:

Engineering Design
Financial Decision-Making
Environmental Sustainability

making it suitable for consultancy-level analysis.

11. Future Enhancements & Scalability

Potential future upgrades include:

- Real-time weather API integration

- AI-based optimization for system sizing

- Dynamic tariff modeling

- Battery degradation modeling

- Web-based cloud deployment

- Mobile application version

- Advanced graphical dashboards

The system is scalable and can evolve into a commercial solar advisory platform.

Conclusion

The Solar PV Feasibility & Financial Analysis Decision Support System successfully integrates technical engineering design, financial modeling, and sustainability evaluation into a unified platform.

It transforms solar system planning from a simple sizing exercise into a structured investment decision process.

The developed system demonstrates:

- Technical accuracy

- Financial intelligence

- Sustainability awareness

- Professional system architecture

- Industry applicability

This project represents a comprehensive renewable energy decision-support framework suitable for academic research, professional consultancy, and real-world implementation.